## Slide 1: OIL WELL MONITORING SYSTEM
Presented By:-
Louis Bengtson
Kaleb Stunkard
Jimit Shah

## Slide 2: MOTIVATION
More than 27,000 oil wells permanently abandoned in the Gulf of Mexico.
Currently, there is no monitoring system available.
Four teams:
  Buoy Team (Mechanical Engineering)
  Bi-directional Turbine Team (Mechanical Engineering)
  Sensor Team (Mechanical Engineering)
  Electrical Team (Electrical Engineering)

## Slide 3
Ginlong Generator
Turbine
INPUT CIRCUIT
BOOST CONVERTER
(AC-DC Rectifier)
BUCK CONVERTER
BATTERY CHARGING CIRCUIT
Sensor
CONTROL
PROCESSOR
System Block Diagram
Electrical System

## Slide 4: GOALS & OBJECTIVES
Efficiently convert varying AC voltage to steady DC voltage.
Be able to charge a battery that will supply the necessary output voltage to the sensors.
Must be self powered.
Must perform PFC on the AC signal.
Must be able to work in high and low pressure environment.
Must be suitable for dry and wet conditions.

## Slide 5: SPECIFICATIONS
Input RPM range: 90 to 125 RPM
Input Voltage range: 20VAC to 30VAC
Output Current: 3A
Output Voltage: 12VDC
Cost: Less than $2,000
Efficiency: 85%
Operating Environments
  Temperature: 25 to 110°F
  Humidity: 100%

## Slide 6: Input Circuit
- Kaleb Stunkard

## Slide 7: Input Power Block Diagram

## Slide 8: LED Indicator Schematic

## Slide 9: Input Power Block Diagram

## Slide 10: Full Wave Bridge Rectifier Schematic

## Slide 11: Why PFC?

## Slide 12: Input Power Block Diagram

## Slide 13: Buck Gate FET Supply Voltage Schematic

## Slide 14: Input Power Block Diagram

## Slide 15: Low Voltage Circuitry Supply Schematic

## Slide 16: Input Power Prototype

## Slide 17: Results (Rectified AC and Low Power Outputs)

## Slide 18: BOOST CONVERTER, BUCK CONVERTER & BATTERY CHARGING CIRCUIT
- Jimit Shah

## Slide 19: Block Diagram
ACRECT
BOOSTGATE
BOOST
CONVERTER
200V
200V
BUCK
CONVERTER
BUCKGATE
200 - 16V
+5 V
GND
12 V
BKPDONE
Input
Output
Output to Input Circuit
Output to Control Processor
BATTERY CHARGER
Vout

## Slide 20: Boost Topology Schematic

## Slide 21
Top View
Side View

## Slide 22: Buck Topology Schematic
 BKPDONE

## Slide 23
Top View
Side View

## Slide 25: Battery Charging Schematic

## Slide 26: Microcontroller
- Louis Bengtson

## Slide 27: Advantages of dsPIC
Extensive available parameters
Inexpensive
Programmable in C
Compatibility with development tools
Allows use of PFC algorithm
Prospect of future improvements with digital control not possible with analog implementation

## Slide 28: dsPIC30F4011 Specifications
Parameters | Values
Program Memory Type | Flash
Program Memory (KB) | 48
CPU Speed (MIPS) | 30
RAM Bytes | 2048
Internal Oscillator | 7.37 MHz, 512 kHz
nanoWatt Features | Fast Wake/Fast Control
Capture/Compare/PWM Peripherals | 4/4
Digital Communication Peripherals | 2-UART, 1-SPI, 1-I2C
Analog Peripherals | 1-A/D 9x10-bit @ 1000(ksps)
Timers | 5 x 16-bit, 2 x 32-bit
16-bit PWM resolutions | 16
Motor Control PWM Channels | 6
Temperature Range (deg C) | -40 to 125
Operating Voltage Range (V) | 2.5 to 5.5
I/O Pins | 30
Pin Count | 44
Volume Pricing | $4.02

## Slide 31: Microcontroller Functions
Control buck and boost FET gate drivers
Receive buck pulse done signal from buck converter to prevent new pulse while processing previous pulse
Interrupt and compute next period boost pulse width for power factor correction between pulses

## Slide 32: Boost Pulse Width Formula for PFC
Tp is the pulse period
L is the Boost inductance
R is the load resistance to the AC line
Vo is the Boost output voltage
Vac is the instantaneous rectified AC voltage

## Slide 33: Boost Pulse Width Algorithm
Add 200V internal supply reading with boost diode drop voltage to acquire effective boost switcher output voltage
Get rectified AC voltage reading and convert to 200V reading scale
Subtract AC rectified voltage from effective boost switcher output voltage to obtain boost difference voltage
If result is negative, clip at 0
Divide boost difference voltage by boost output voltage to obtain duty cycle
Take the square root to obtain scaled pulse width, and restore original scale
Compare computed duty cycle to maximum duty cycle
If computed duty cycle is out of range, set maximum duty cycle
Set boost switcher pulse width for the next PWM period

## Slide 34: Anticipated Problems
Generator performance
GPS
Not being able to test Boost & Buck circuits
Programming the microcontroller
Integrating microcontroller chip into PCB
PCB layout

## Slide 35: BUDGET
Item Description | Cost | % of Total Project Cost
Resistors | $5.56 | 0.70%
Capiators | $41.34 | 5.27%
Inductors | $31.92 | 4.06%
Diodes | $12.51 | 1.60%
Transistors | $15.35 | 1.95%
LEDs | $2.98 | 38.00%
Lead Acid Battery | $18.06 | 2.30%
Microcontroller | $31.90 | 4.06%
Blank MCU Cards | $56.60 | 7.20%
Breadboards | $64.89 | 8.26%
Breadboard Jumper Kits | $12.82 | 1.63%
Development Kit | $467.00 | 59.40%
Multimeter | $24.50 | 3.12%
 | $785.43 | 

## Slide 36: PROJECT TIMELINE
 | Tasks | 2010 |  |  |  |  | 2011 |  |  |  | 
 |  | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May
Phase I - Research | Obtain Specs Required for Design |  |  |  |  |  |  |  |  |  | 
 | Brainstorm Possible Solutions |  |  |  |  |  |  |  |  |  | 
 | Research Commercial Products |  |  |  |  |  |  |  |  |  | 
 | Analysis of Control Techniques |  |  |  |  |  |  |  |  |  | 
 | Analysis of Communication Protocols |  |  |  |  |  |  |  |  |  | 
Phase II - Design | Converter Topology Design and Simulation |  |  |  |  |  |  |  |  |  | 
 | Programming and Debugging |  |  |  |  |  |  |  |  |  | 
 | Communication and Protection Design |  |  |  |  |  |  |  |  |  | 
 | Prototype Building, Testing and Debugging |  |  |  |  |  |  |  |  |  | 
Phase III - Testing | Measurement + Tuning of Key Parameters |  |  |  |  |  |  |  |  |  | 
 | Packaging + Customizing |  |  |  |  |  |  |  |  |  | 
 | Final Budjet Report |  |  |  |  |  |  |  |  |  | 
 | Final Testing |  |  |  |  |  |  |  |  |  | 

## Slide 37: MILESTONE CHART
Chart: 
| Overall | Testing | Prototyping | Parts Acquistion | Design | Research
Series 1 | 0.6 | 0.2 | 0.5 | 0.7 | 0.85 | 0.9
Column1
Column2

## Slide 38: QUESTIONS?