Specifications

Transmitter/Receiver Pair

Initially, we are planning to use the HP- Series Digital or Analog Transmitter/Receiver pair so that we would have the flexibility of using either digital or analog transmission. An additional benefit of using the HP- Series over the others series is the increased possible transmission distance. While the other Series would only guarantee accurate transmission to a distance of 300ft, the HP- Series can transmit as far as 1000ft accurately.

Alarm Unit

We concluded that having both an audible and visual alarm would best suit practical device usage.  If the parent was sleeping or generally not looking at the alarm unit, we needed for them to be able to hear if an emergency is present.  If the parent is listening to music or wearing headphones, we needed the parent to be able to receive a visual signal.

One decision that had to be made for the alarm unit was the type of alarm to use. We had the option of using a two-terminal buzzer or a three-terminal buzzer. Since we would be utilizing the buzzer to simply sense a voltage, only a two-terminal buzzer would be necessary.

However, we had two different options of two-terminal buzzers. One operates off of a 6V supply and the other off of a 12V supply. Since we were building the rest of our circuit around +5V, a 6V buzzer would be more appropriate with our circuit specifications.

## Power

These High Quality 12 Volt Standard Power Supply Adapters are ideal for any device that requires stable DC power. They will protect your valuable electronics against spikes and dips in power, and will shut themselves off in case of instability.

Below is a list of the specifications needed for the power of the system. This is currently based on the anticipated design and is subject to change.

- Supply at least a constant 5V signal

- Able to handle at most a 20W load (use of a camera)

- Theoretical lifetime at least 2 years

- Signal may not degrade below 8. 5V near end of life

- Capable of a quick power on/power off cycles

- Little to no heat generation

- Fit within the package size

Cost of Parts

| Part | Cost | Number Used | Total Cost |
| --- | --- | --- | --- |
| BasicX-Microcontroller | 49.95 | 1 | 49.95 |
| HP- Series Receiver | 76.00 | 1 | 76.00 |
| HP- Series Transmitter | 54.00 | 1 | 54.00 |
| CW Series Antennas | 15.00 | 2 | 30.00 |
| Power | 12.00 | 1 | 12.00 |
| Buzzer | 2.50 | 1 | 2.50 |
| LED | 1.00 | 1 | 1.00 |
| Total |  |  | $225.95 |